Pipeline Incident Reports (Last 5 Years) – Enhanced Version for U.S. Operations

Incident Report 1: Overpressure Event at Compressor Station

Date: April 15, 2023
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

An unexpected valve failure at a natural gas compressor station caused a rapid pressure buildup, exceeding safe operating limits. The relief valve failed to activate due to blockage in the venting system.

Response Actions:

Emergency shutdown initiated per 49 CFR 192.167.

Automated blowdown system activated to release excess pressure safely.

Evacuation of non-essential personnel within a 500-meter radius.

Inspection confirmed pipeline integrity, and pressure relief system was repaired.

Casualties & Injuries:

No injuries reported.

Incident Report 2: Crude Oil Spill Due to Pipeline Rupture

Date: September 9, 2022
Location: Bakersfield, California
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A corrosion-induced failure in a 36-inch crude oil pipeline led to a spill of approximately 15,000 gallons of oil into a nearby dry creek bed.

Response Actions:

Pipeline shut down immediately, and isolation valves were closed.

Spill containment booms deployed to prevent further spread.

Air and soil monitoring conducted per 49 CFR 195.452 guidelines.

Root cause analysis identified external corrosion as the primary factor.

Casualties & Injuries:

No injuries reported, but significant environmental cleanup required.

Incident Report 3: Gas Leak at Compressor Station Due to Flange Failure

Date: February 22, 2021
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A flange gasket failure at a compressor station resulted in a high-pressure gas leak. The station’s gas detection sensors triggered an alarm, leading to an emergency response.

Response Actions:

Shutdown procedures executed per 49 CFR 192.167.

Fire suppression teams on standby due to explosion risk.

Immediate evacuation and monitoring for atmospheric gas levels.

Investigation determined gasket failure due to improper maintenance.

Casualties & Injuries:

No injuries reported.

Incident Report 4: Diesel Spill from Pump Station Equipment Failure

Date: July 5, 2023
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A mechanical failure in a pump station control valve led to an uncontrolled release of diesel fuel, affecting nearby storm drains.

Response Actions:

Immediate shutdown of pumping station and isolation of leak source.

Spill containment and hazardous material response initiated.

Environmental cleanup teams deployed per 49 CFR 195.422.

Inspection revealed worn-out valve components as the root cause.

Casualties & Injuries:

No injuries, but significant environmental damage.

Incident Report 5: Fire at Compressor Station Due to Mechanical Failure

Date: October 17, 2020
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A mechanical failure in the compressor unit led to excessive heat buildup, igniting a small fire. The fire suppression system activated, but high-pressure gas was still venting from the system.

Response Actions:

Compressor unit shutdown per 49 CFR 192.735.

Fire suppression system activated, preventing further escalation.

Hazardous gas monitoring conducted to prevent secondary ignition.

Mechanical inspection determined root cause as metal fatigue in turbine blades.

Casualties & Injuries:

Two employees sustained minor burns, treated on-site.

Incident Report 6: Third-Party Excavation Damage to Gas Pipeline

Date: May 8, 2021
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A construction crew operating an excavator failed to check for underground gas lines and struck a high-pressure natural gas transmission pipeline, causing an immediate gas release.

Response Actions:

Immediate evacuation within a 1.6 km radius per PHMSA Guide 115.

Pipeline section shut down and gas rerouted.

Fire department on standby in case of ignition.

Third-party contractor cited for failure to follow 49 CFR 192.614 excavation notification procedures.

Casualties & Injuries:

No injuries, but significant gas loss and regulatory fines issued.

Incident Report 7: Pump Station Electrical Fire

Date: August 2, 2019
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

An electrical failure in a motor control panel at a pump station caused a fire in the control room, cutting off remote monitoring and shutting down the station.

Response Actions:

Local fire department responded and extinguished the fire.

Emergency shutoff procedures activated to prevent further damage.

Manual operations resumed per 49 CFR 195.262.

Post-incident inspection identified faulty wiring as the cause.

Casualties & Injuries:

No injuries, station back online after 24-hour downtime.

Incident Report 8: Pipeline Rupture Due to External Corrosion

Date: March 25, 2023
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

Routine pipeline monitoring detected decreasing pressure, indicating a potential leak. Inspection crews discovered a 10-inch rupture caused by external corrosion.

Response Actions:

Pipeline shut down and containment barriers deployed.

Spill cleanup and environmental assessment conducted.

Regulators notified per 49 CFR 195.452.

Pipeline repair included section replacement with corrosion-resistant materials.

Casualties & Injuries:

No injuries, but significant environmental cleanup required.

Incident Report 9: Hydrogen Sulfide Release at Processing Facility

Date: July 10, 2022
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A pressure regulator failure at a gas processing plant led to a release of hydrogen sulfide (H₂S). The leak triggered gas detection alarms, and workers were immediately evacuated.

Response Actions:

Emergency response team activated per 49 CFR 192.631.

H₂S detection confirmed within a 500-meter exclusion zone.

Evacuation of all non-essential personnel.

Leak repaired after system depressurization.

Casualties & Injuries:

Two employees experienced mild H₂S exposure, received medical clearance.

Incident Report 10: Gas Explosion from Underground Storage Facility

Date: November 18, 2021
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A leak in an underground gas storage facility led to gas accumulation in an adjacent utility trench. A spark from maintenance equipment caused an explosion, damaging nearby buildings.

Response Actions:

Immediate shutdown of storage facility and gas rerouted.

Emergency evacuation of 2-mile radius per PHMSA recommendations.

Hazardous materials team deployed to assess gas levels.

Structural damage assessment conducted before reentry.

Casualties & Injuries:

Three workers sustained moderate burn injuries, hospitalized.

Incident Report 11: Oil Spill Due to Valve Malfunction at Pump Station

Date: June 5, 2020
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A valve malfunction at a pump station resulted in a high-pressure oil release, spilling approximately 12,000 gallons of crude oil into a containment area.

Response Actions:

Pump station shut down immediately per 49 CFR 195.262.

Emergency containment barriers deployed to prevent environmental impact.

Cleanup crews used vacuum trucks to recover spilled oil.

Valve failure traced to excessive wear; new monitoring sensors installed.

Casualties & Injuries:

No injuries reported.

Incident Report 12: Gas Pipeline Leak Due to External Corrosion

Date: September 12, 2021
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A routine inspection identified a small gas leak in a high-pressure transmission pipeline. Further investigation revealed external corrosion as the root cause.

Response Actions:

Pipeline section isolated and depressurized for safety.

Leak repaired with a composite sleeve per 49 CFR 192.711.

Cathodic protection system upgraded to prevent future corrosion.

Regulatory authorities notified per reporting requirements.

Casualties & Injuries:

No injuries reported.

Incident Report 13: Explosion at Compressor Station Due to Equipment Failure

Date: April 8, 2023
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A mechanical failure in a compressor unit caused an explosion, resulting in significant equipment damage but no fatalities.

Response Actions:

Emergency shutdown initiated per 49 CFR 192.167.

Fire suppression teams activated to control secondary fires.

Investigation revealed overpressure in the compression unit.

New overpressure protection measures implemented.

Casualties & Injuries:

One technician sustained minor burns, treated on-site.

Incident Report 14: Third-Party Damage to Oil Pipeline

Date: July 15, 2022
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A construction crew accidentally struck an underground crude oil pipeline, causing a significant release. The contractor had failed to obtain proper clearance before digging.

Response Actions:

Pipeline shut down and isolation valves engaged.

Oil spill response teams deployed to prevent environmental damage.

Regulatory investigation conducted; fines issued to the contractor.

Pipeline repaired and reinforced per 49 CFR 195.422.

Casualties & Injuries:

No injuries reported.

Incident Report 15: Diesel Fuel Spill from Storage Tank Failure

Date: January 21, 2021
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A weld failure in a storage tank at a pipeline pump station led to the release of 5,000 gallons of diesel fuel into a secondary containment area.

Response Actions:

Tank isolated, fuel transfer operations stopped.

Spilled diesel recovered using vacuum pumps.

Structural assessment conducted; faulty welds replaced.

Regulatory agencies notified, and new tank inspection protocols implemented.

Casualties & Injuries:

No injuries reported.

Incident Report 16: Gas Leak from Compressor Station Pipeline Crack

Date: November 4, 2020
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A hairline crack in a high-pressure pipeline near a compressor station led to a slow but steady release of natural gas. The leak was detected through routine aerial surveillance.

Response Actions:

Pipeline section shut down per 49 CFR 192.711.

Crack sealed using composite repair sleeves.

Pipeline integrity monitoring improved to detect similar failures earlier.

No environmental contamination reported.

Casualties & Injuries:

No injuries reported.

Incident Report 17: Fire at Pump Station Due to Electrical Short Circuit

Date: May 14, 2022
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Damage)
PHMSA Guide Reference: Guide 128

Incident Description:

An electrical panel short circuit at a crude oil pump station resulted in a fire that damaged station control systems. The fire was contained quickly, but operations were halted.

Response Actions:

Pump station power supply isolated to prevent further damage.

Local fire department responded and suppressed the fire.

Damaged electrical systems replaced per NFPA guidelines.

New fire suppression system installed.

Casualties & Injuries:

No injuries reported.

Incident Report 18: Overpressure Event in Natural Gas Pipeline

Date: August 19, 2023
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A pressure regulation system malfunction resulted in a temporary overpressure condition in a transmission pipeline.

Response Actions:

Emergency shutdown activated per 49 CFR 192.195.

Relief valves manually operated to vent excess gas safely.

Pipeline pressure monitoring enhanced to prevent future issues.

No reported pipeline damage.

Casualties & Injuries:

No injuries reported.

Incident Report 19: Lightning Strike on Above-Ground Pipeline Segment

Date: March 29, 2021
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A lightning strike hit an above-ground section of a natural gas pipeline, causing a small localized fire that was quickly extinguished.

Response Actions:

Pipeline shutdown and damage assessment conducted.

Fire suppression teams responded immediately.

Pipeline segment reinforced with lightning protection measures.

Incident reviewed for emergency response training.

Casualties & Injuries:

No injuries reported.

Incident Report 21: Pipeline Leak Due to Ground Subsidence

Date: October 12, 2022
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

Ground subsidence near a wetland area caused stress on a buried pipeline, leading to a small crude oil leak detected by monitoring systems.

Response Actions:

Pipeline pressure reduced to mitigate further leaks.

Leak location excavated and repaired per 49 CFR 195.422.

Geotechnical surveys conducted to assess future subsidence risks.

Enhanced monitoring implemented for pipeline movement.

Casualties & Injuries:

No injuries reported.

Incident Report 22: Fire at Compressor Station Due to Overheated Bearings

Date: April 3, 2021
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

An overheated bearing in a compressor unit ignited, causing a fire in the facility’s engine room.

Response Actions:

Fire suppression system engaged automatically.

Station evacuated per emergency protocols.

Fire extinguished before it spread to other units.

Preventive maintenance increased to avoid overheating issues.

Casualties & Injuries:

One technician suffered minor smoke inhalation, treated on-site.

Incident Report 23: Gas Pipeline Failure Due to Incorrect Weld Inspection

Date: January 6, 2023
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A weld joint failure in a newly installed gas transmission pipeline resulted in pressure loss and gas venting.

Response Actions:

Pipeline segment isolated per 49 CFR 192.711.

Emergency personnel evacuated a 1-mile radius as a precaution.

Weld testing procedures revised to prevent future errors.

Casualties & Injuries:

No injuries reported.

Incident Report 24: Diesel Leak Due to Mechanical Failure at Pump Station

Date: June 18, 2022**
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A valve failure in a diesel pipeline pump station resulted in continuous leaking until an operator noticed the issue.

Response Actions:

Pumping operations shut down immediately.

Secondary containment system prevented environmental contamination.

Failed valve replaced and all station components inspected.

Casualties & Injuries:

No injuries reported.

Incident Report 25: Excavation Damage to Gas Pipeline, Resulting in Explosion

Date: November 27, 2021
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A third-party drilling crew struck a gas pipeline, causing a high-pressure leak that later ignited, resulting in an explosion.

Response Actions:

Immediate shutdown of the pipeline per 49 CFR 192.614 excavation damage protocols.

Fire crews responded to suppress flames.

Regulatory fines issued against the contractor.

Casualties & Injuries:

Two workers sustained moderate burn injuries, hospitalized.

Incident Report 26: Anhydrous Ammonia Release from Pipeline

Date: September 14, 2020
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Anhydrous Ammonia (UN 1005)
PHMSA Guide Reference: Guide 125

Incident Description:

A pressure valve malfunction resulted in anhydrous ammonia venting into the air, triggering hazardous material alarms.

Response Actions:

Emergency shutdown of pipeline section per 49 CFR 195.134.

Evacuation ordered for a 1-mile radius.

Gas dispersion monitoring confirmed safe re-entry after 6 hours.

Casualties & Injuries:

One responder experienced eye irritation, treated on-site.

Incident Report 27: Hydrogen Sulfide Gas Release at Processing Facility

Date: May 21, 2023
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A sudden pressure drop in a processing unit led to an H₂S gas release, prompting an emergency response.

Response Actions:

H₂S detection alarms triggered automatic shutdown.

Facility personnel evacuated.

Ventilation systems engaged to disperse gas safely.

Casualties & Injuries:

No injuries reported.

Incident Report 28: Mechanical Failure in Pump Station Causes Oil Spill

Date: July 9, 2021
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A pump station shutdown due to an internal gear failure caused oil to backflow into the containment system.

Response Actions:

Immediate station shutdown and cleanup.

Structural assessment identified mechanical fatigue as cause.

Preventive maintenance program improved.

Casualties & Injuries:

No injuries reported.

Incident Report 29: Pipeline Rupture Due to Landslide Movement

Date: February 16, 2022
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A landslide shifted a buried pipeline, leading to structural failure and a major crude oil release.

Response Actions:

Pipeline shutdown and spill containment deployed.

Geotechnical survey conducted to stabilize future pipeline routes.

Casualties & Injuries:

No injuries reported.

Incident Report 30: Natural Gas Compressor Station Shutdown Due to Overpressure Alarm

Date: March 3, 2023
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A sudden increase in pressure at a compressor station triggered automatic shutdown protocols to prevent a rupture.

Response Actions:

Overpressure venting system activated.

Station shutdown until pressure levels stabilized.

Review of pressure control systems to prevent future occurrences.

Casualties & Injuries:

No injuries reported.

Incident Report 31: Valve Failure at Oil Pump Station Leading to Leak

Date: August 10, 2021
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A mechanical valve failure at a pump station led to an uncontrolled crude oil leak, spilling 8,000 gallons into the facility’s containment area.

Response Actions:

Pump station shut down and leak isolated.

Spilled oil recovered using vacuum trucks.

All station valves inspected and replaced where necessary.

Casualties & Injuries:

No injuries reported.

Incident Report 32: Gas Pipeline Damage Due to Unauthorized Digging

Date: September 23, 2022
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A private construction crew conducted excavation work without a proper dig permit, striking a natural gas pipeline and causing a pressure drop and gas release.

Response Actions:

Emergency shutdown initiated per 49 CFR 192.614.

Fire department deployed as a precaution against ignition.

Excavation company fined for failure to follow pipeline safety regulations.

Casualties & Injuries:

No injuries reported.

Incident Report 33: Overpressure Event in Crude Oil Pipeline

Date: March 14, 2020
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A pressure sensor malfunction caused a temporary pressure surge in an oil pipeline, exceeding its maximum operating pressure.

Response Actions:

Emergency venting system activated per 49 CFR 195.406.

Pipeline temporarily shut down to relieve excess pressure.

Sensor calibration procedures updated.

Casualties & Injuries:

No injuries reported.

Incident Report 34: Gas Compressor Station Leak Due to Corrosion

Date: July 27, 2023
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

Routine gas leak detection monitoring identified a small but continuous natural gas leak at a compressor station caused by internal corrosion in the pipeline segment.

Response Actions:

Station shut down to allow safe repair work.

Pipeline section replaced with corrosion-resistant material.

Corrosion monitoring schedule increased.

Casualties & Injuries:

No injuries reported.

Incident Report 35: Lightning Strike at Above-Ground Crude Oil Pipeline Segment

Date: May 19, 2022
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A direct lightning strike hit an above-ground crude oil pipeline, igniting residual vapors and causing a localized fire.

Response Actions:

Fire suppression teams deployed and contained the fire.

Pipeline integrity inspection performed before resuming operations.

Lightning protection system installed at the site.

Casualties & Injuries:

No injuries reported.

Incident Report 36: Diesel Spill from Tanker Loading Incident

Date: December 1, 2021
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A hose coupling failure during tanker loading caused 500 gallons of diesel to spill before the flow was shut off.

Response Actions:

Loading operations suspended.

Spilled diesel absorbed and recovered.

All loading equipment inspected and damaged hose replaced.

Casualties & Injuries:

No injuries reported.

Incident Report 37: Gas Pipeline Rupture Due to Aging Infrastructure

Date: January 10, 2023
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A 70-year-old pipeline segment failed due to metal fatigue, resulting in a rupture and gas release.

Response Actions:

Emergency shutdown of affected pipeline.

Aging sections replaced with new high-strength steel pipe.

Enhanced monitoring of legacy infrastructure implemented.

Casualties & Injuries:

No injuries reported.

Incident Report 38: Sulfuric Acid Spill from Pipeline Valve Failure

Date: October 8, 2021
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Sulfuric Acid (UN 1830)
PHMSA Guide Reference: Guide 137

Incident Description:

A valve failure in a sulfuric acid pipeline led to 30 gallons of acid leaking before containment was initiated.

Response Actions:

Hazmat team deployed per PHMSA response protocol.

Acid neutralized with lime.

Valve inspection frequency increased.

Casualties & Injuries:

One worker suffered minor skin irritation.

Incident Report 39: Fire at Gas Processing Facility Due to Compressor Failure

Date: March 30, 2022
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

A compressor turbine failure led to overheating, igniting nearby equipment.

Response Actions:

Fire suppression system contained the flames.

Processing facility shut down for full inspection.

Preventive maintenance on turbines improved.

Casualties & Injuries:

No injuries reported.

Incident Report 40: Pipeline Displacement Due to Flash Flooding

Date: September 5, 2023
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

Heavy flash floods caused soil erosion, leading to pipeline displacement and a minor oil leak.

Response Actions:

Pipeline shut down and affected section stabilized.

Geotechnical assessment performed.

Pipeline reburied with flood-resistant measures.

Casualties & Injuries:

No injuries reported.

Incident Report 41: Unauthorized Excavation Near Gas Pipeline

Date: June 10, 2022
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A contractor operating a backhoe without proper permits struck a natural gas pipeline, causing a pressurized gas leak.

Response Actions:

Pipeline shutdown and emergency response initiated per 49 CFR 192.614.

Local fire department deployed as a precaution against ignition.

Excavation company fined for non-compliance.

Casualties & Injuries:

No injuries reported.

Incident Report 42: Diesel Leak Due to Pipeline Crack in Storage Facility

Date: August 5, 2021
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A crack in a buried diesel pipeline within a storage facility resulted in a slow, undetected leak over several days before discovery.

Response Actions:

Pipeline section isolated for inspection and repair.

Leak detection systems upgraded to improve early warning capabilities.

Soil remediation conducted to prevent groundwater contamination.

Casualties & Injuries:

No injuries reported.

Incident Report 43: Compressor Station Gas Leak Due to Flange Failure

Date: March 18, 2023
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A flange gasket failure at a compressor station led to a high-pressure gas leak, triggering alarm systems.

Response Actions:

Station shut down and non-essential personnel evacuated.

Gas detection sensors confirmed leak area and repairs initiated.

New flange gaskets installed, and all joints inspected.

Casualties & Injuries:

No injuries reported.

Incident Report 44: Crude Oil Pipeline Rupture Due to Soil Erosion

Date: December 22, 2022
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

Heavy rains caused soil erosion along a pipeline route, exposing and weakening the pipeline, eventually leading to a rupture.

Response Actions:

Pipeline shutdown and oil containment barriers deployed.

Emergency crews recovered 90% of the spilled oil.

Pipeline reburied with enhanced erosion control measures.

Casualties & Injuries:

No injuries reported.

Incident Report 45: Hydrogen Sulfide Gas Release at Processing Plant

Date: October 1, 2021
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A valve malfunction in a gas processing plant led to a minor but hazardous release of hydrogen sulfide (H₂S).

Response Actions:

Facility evacuated and H₂S sensors deployed.

Gas ventilation fans activated to disperse toxic fumes.

Valve repaired and additional safety inspections conducted.

Casualties & Injuries:

One worker suffered minor respiratory distress, treated on-site.

Incident Report 46: Fire at Pump Station Due to Electrical Fault

Date: February 8, 2023
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

An electrical short circuit in a control panel caused a fire at a crude oil pump station, disabling operations.

Response Actions:

Fire extinguished before spreading to adjacent equipment.

Facility power isolated and electrical panels replaced.

Fire-resistant electrical enclosures installed to prevent recurrence.

Casualties & Injuries:

No injuries reported.

Incident Report 47: LPG Pipeline Leak Detected by Remote Monitoring

Date: July 7, 2022
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A remote monitoring system detected a pressure drop in an LPG pipeline, indicating a small but continuous leak.

Response Actions:

Pipeline section isolated and shut down.

Leak identified at a pipe weld seam and repaired.

Remote monitoring system upgraded for faster response.

Casualties & Injuries:

No injuries reported.

Incident Report 48: Pipeline Damage Due to Flooding in Coastal Area

Date: November 11, 2021
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

Severe coastal flooding caused structural damage to an above-ground oil pipeline, leading to a small but ongoing leak.

Response Actions:

Pipeline operations halted to contain the leak.

Pipeline support structures reinforced.

Long-term flood mitigation plan implemented.

Casualties & Injuries:

No injuries reported.

Incident Report 49: Overpressure Event in Natural Gas Pipeline

Date: May 25, 2023
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A pressure control system failure resulted in an overpressure condition in a transmission pipeline.

Response Actions:

Automated relief valves activated to vent excess gas safely.

Pipeline operations reviewed and pressure monitoring upgraded.

Casualties & Injuries:

No injuries reported.

Incident Report 50: Gas Leak Due to Weld Defect in Transmission Pipeline

Date: January 14, 2022
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A small gas leak was detected along a newly installed pipeline segment, traced to a defective weld.

Response Actions:

Pipeline shutdown and weld defect repaired.

All welds in the affected section were re-examined.

Additional quality control measures implemented for new pipeline installations.

Casualties & Injuries:

No injuries reported.

Incident Report 51: Crude Oil Pipeline Spill Due to External Corrosion

Date: August 9, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A routine pipeline integrity assessment detected external corrosion, which led to a minor leak in a 24-inch crude oil pipeline.

Response Actions:

Pipeline shutdown and repair initiated per 49 CFR 195.452.

Cathodic protection system enhanced to prevent further corrosion.

Excavation and coating application performed.

Casualties & Injuries:

No injuries reported.

Incident Report 52: Gas Leak from Compressor Station Due to Frozen Valve

Date: February 3, 2022
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

Extreme cold weather led to a valve freeze-up at a compressor station, resulting in an uncontrolled gas release.

Response Actions:

Station operations suspended until temperatures stabilized.

Emergency response teams mitigated hazards and depressurized equipment.

Winterization measures implemented to prevent recurrence.

Casualties & Injuries:

No injuries reported.

Incident Report 53: Third-Party Damage to Oil Pipeline During Road Construction

Date: July 17, 2021
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A construction company failed to identify underground pipelines before road excavation, puncturing a crude oil pipeline.

Response Actions:

Pipeline shut down per 49 CFR 195.422.

Cleanup crews deployed to contain oil spill.

Contractor fined for failure to comply with pipeline location laws.

Casualties & Injuries:

No injuries reported.

Incident Report 54: Electrical Failure Causes Pump Station Shutdown

Date: March 25, 2023
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Operational Disruption)
PHMSA Guide Reference: Guide 128

Incident Description:

A power surge caused an electrical failure at a crude oil pump station, shutting down operations unexpectedly.

Response Actions:

Emergency backup power activated.

Control system reset to restore operations.

Surge protection equipment installed to prevent recurrence.

Casualties & Injuries:

No injuries reported.

Incident Report 55: Gas Leak from Compressor Station Due to Faulty Weld

Date: November 6, 2022
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A faulty weld in a compressor station pipeline developed a small leak, detected by monitoring systems.

Response Actions:

Station shutdown and affected section isolated.

Weld repaired and additional inspections conducted.

Quality control standards updated for future welding procedures.

Casualties & Injuries:

No injuries reported.

Incident Report 56: LPG Pipeline Rupture Due to Land Movement

Date: September 14, 2023
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

Shifting soil conditions caused stress on an underground LPG pipeline, leading to a small rupture.

Response Actions:

Pipeline shutdown and immediate emergency response.

Geotechnical assessment conducted for soil stability.

Pipeline rerouted to a more stable location.

Casualties & Injuries:

No injuries reported.

Incident Report 57: Fire at Pump Station Due to Flammable Vapor Ignition

Date: May 1, 2023
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

Flammable vapors from a leaking seal ignited at a crude oil pump station, causing a fire in the pump area.

Response Actions:

Fire suppression systems activated immediately.

Hazardous vapors monitored to prevent secondary ignition.

Pump station equipment inspected and damaged seals replaced.

Casualties & Injuries:

No injuries reported.

Incident Report 58: Earthquake Causes Gas Pipeline Leak

Date: January 9, 2022
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A moderate earthquake (5.2 magnitude) caused a minor gas leak in an underground high-pressure pipeline.

Response Actions:

Pipeline integrity assessment conducted.

Leak detected and repaired within 12 hours.

Pipeline retrofitted with seismic-resistant features.

Casualties & Injuries:

No injuries reported.

Incident Report 59: Overpressure Event in Natural Gas Distribution System

Date: June 20, 2023
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A regulator failure caused excessive pressure buildup in a natural gas distribution system, triggering an emergency shutdown.

Response Actions:

Automated relief system activated.

Pressure control system recalibrated to prevent future failures.

Casualties & Injuries:

No injuries reported.

Incident Report 60: Pipeline Damage Due to Rockslide

Date: April 15, 2022
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A rockslide in a mountainous area damaged a buried crude oil pipeline, causing a small leak.

Response Actions:

Pipeline operations halted and emergency crews deployed.

Geotechnical surveys conducted to prevent further incidents.

Pipeline section repaired and reinforced with additional supports.

Casualties & Injuries:

No injuries reported.

Incident Report 61: Gas Leak at Compressor Station Due to Flange Bolt Failure

Date: August 30, 2022
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A flange bolt failure at a compressor station led to a small but continuous gas leak, detected by an on-site technician.

Response Actions:

Station shutdown and area evacuated as a precaution.

Bolts replaced and flange inspected for defects.

Regular bolt torque inspections added to maintenance protocols.

Casualties & Injuries:

No injuries reported.

Incident Report 62: Fire at Pump Station Due to Electrical Equipment Malfunction

Date: February 10, 2023**
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

An electrical failure in a pump station control panel led to an electrical fire, which disrupted crude oil transfer operations.

Response Actions:

Fire suppression system activated, preventing further spread.

Station operations halted until electrical repairs were completed.

Upgraded electrical components to prevent future failures.

Casualties & Injuries:

No injuries reported.

Incident Report 63: Unauthorized Digging Results in Diesel Pipeline Puncture

Date: June 8, 2021
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A private landowner conducting unauthorized digging struck an underground diesel fuel pipeline, causing a moderate spill.

Response Actions:

Pipeline shutdown and spill containment deployed.

Regulatory authorities notified of excavation violation.

Landowner fined for failing to follow dig-safe procedures.

Casualties & Injuries:

No injuries reported.

Incident Report 64: Gas Pipeline Rupture Due to Excessive Internal Pressure

Date: October 14, 2021
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A pressure relief valve malfunction resulted in an overpressure event, leading to a rupture in the transmission pipeline.

Response Actions:

Emergency shutdown initiated, isolating the affected section.

Gas rerouted to alternate pipelines to minimize service disruptions.

Pressure relief systems upgraded across the network.

Casualties & Injuries:

No injuries reported.

Incident Report 65: Crude Oil Pipeline Spill Due to Pipeline Coating Failure

Date: July 6, 2023
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A coating failure on a buried crude oil pipeline caused undetected corrosion, leading to a slow leak.

Response Actions:

Pipeline shutdown and affected section excavated.

Pipeline recoated with corrosion-resistant material.

Routine coating integrity inspections increased.

Casualties & Injuries:

No injuries reported.

Incident Report 66: Flash Flooding Leads to Gas Pipeline Exposure and Damage

Date: May 18, 2022
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

Heavy flash flooding washed away soil covering a buried gas pipeline, exposing it to external damage from debris.

Response Actions:

Pipeline shut down and integrity inspection conducted.

Protective structures installed to prevent future flood damage.

Long-term flood risk assessment initiated.

Casualties & Injuries:

No injuries reported.

Incident Report 67: Equipment Failure at Compressor Station Triggers Emergency Shutdown

Date: March 7, 2023
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Equipment Malfunction)
PHMSA Guide Reference: Guide 115

Incident Description:

A compressor unit tripped offline due to an internal bearing failure, triggering an automatic emergency shutdown.

Response Actions:

Backup compressors activated to prevent service disruptions.

Failed unit repaired and bearing system upgraded.

Condition-based monitoring system installed to detect future failures early.

Casualties & Injuries:

No injuries reported.

Incident Report 68: LPG Pipeline Leak from Valve Packing Failure

Date: September 29, 2021
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A valve packing failure at an LPG metering station resulted in a small, intermittent leak.

Response Actions:

Station shutdown and vapor cloud dispersion monitored.

Valve replaced, and packing integrity assessments increased.

Casualties & Injuries:

No injuries reported.

Incident Report 69: Oil Spill Due to Pinhole Leak in Aging Pipeline

Date: November 2, 2022
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A pinhole leak developed in an aging crude oil pipeline, releasing a small but continuous amount of oil.

Response Actions:

Pipeline shut down for immediate repairs.

Aging pipeline sections replaced with upgraded materials.

Pipeline integrity monitoring improved.

Casualties & Injuries:

No injuries reported.

Incident Report 70: Fire at Storage Tank Farm Due to Lightning Strike

Date: April 21, 2023
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

A lightning strike hit a crude oil storage tank, igniting vapors around the tank's vent system.

Response Actions:

Fire suppression systems activated, preventing tank damage.

Tank inspected for structural integrity.

Lightning protection system enhanced for the facility.

Casualties & Injuries:

No injuries reported.

Incident Report 71: Gas Leak from Underground Storage Facility Due to Seal Failure

Date: August 15, 2022
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A seal failure in an underground storage wellhead caused a minor but continuous natural gas leak, detected through gas sensors.

Response Actions:

Storage facility operations halted, and leak source identified.

Seals replaced, and well integrity tested.

Preventive maintenance frequency increased for all storage wells.

Casualties & Injuries:

No injuries reported.

Incident Report 72: Oil Pipeline Leak Due to Internal Corrosion

Date: May 10, 2023**
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A corrosion-induced failure in a 36-inch crude oil pipeline resulted in a slow leak, detected via pressure monitoring.

Response Actions:

Pipeline shut down for immediate repair.

Corroded section replaced with new steel piping.

Corrosion inhibitors injected into the pipeline system.

Casualties & Injuries:

No injuries reported.

Incident Report 73: Fire at Compressor Station Due to Turbocharger Overheating

Date: October 7, 2021
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

A turbocharger overheated on a gas compressor unit, igniting oil residues near the engine, causing a fire.

Response Actions:

Fire suppression systems activated, preventing spread.

Compressor shutdown until repairs were completed.

Preventive cooling measures installed to prevent future overheating.

Casualties & Injuries:

No injuries reported.

Incident Report 74: Unauthorized Excavation Leads to Jet Fuel Pipeline Damage

Date: March 28, 2023
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Jet Fuel (UN 1863)
PHMSA Guide Reference: Guide 128

Incident Description:

A construction contractor failed to obtain proper permits and struck a jet fuel pipeline, causing fuel leakage.

Response Actions:

Pipeline shut down and isolation valves closed immediately.

Cleanup crews deployed to contain and recover spilled fuel.

Regulatory fines issued against contractor for safety violations.

Casualties & Injuries:

No injuries reported.

Incident Report 75: LPG Leak at Storage Facility Due to Equipment Failure

Date: July 5, 2021
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A faulty pressure relief valve in an LPG storage facility caused a small vapor release, detected by gas monitors.

Response Actions:

LPG storage tanks isolated, and faulty valve replaced.

Emergency ventilation engaged to disperse vapors safely.

Additional sensor monitoring added for early detection.

Casualties & Injuries:

No injuries reported.

Incident Report 76: Gas Pipeline Explosion Due to Ignition from Nearby Equipment

Date: December 3, 2022
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A gas release from a damaged pipeline section ignited due to a nearby running generator, causing an explosion.

Response Actions:

Emergency shutdown initiated immediately.

Fire department and hazmat teams responded.

Ignition sources prohibited near active repairs moving forward.

Casualties & Injuries:

Two workers sustained moderate burns, treated at a local hospital.

Incident Report 77: Crude Oil Spill from Transfer Line Failure

Date: June 19, 2023
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A transfer line failure at a pump station led to an oil spill into a secondary containment area.

Response Actions:

Operations halted, and oil recovery initiated.

Failed transfer line section replaced.

Routine integrity testing implemented for transfer lines.

Casualties & Injuries:

No injuries reported.

Incident Report 78: Compressor Station Shutdown Due to Loss of Power

Date: September 16, 2021
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Operational Disruption)
PHMSA Guide Reference: Guide 115

Incident Description:

A grid power outage caused an unexpected shutdown of a gas compressor station, disrupting gas transmission.

Response Actions:

Backup generators deployed to maintain station operations.

Power reliability assessment conducted to reduce dependency on grid supply.

Casualties & Injuries:

No injuries reported.

Incident Report 79: Diesel Pipeline Leak Due to Improper Weld Repair

Date: February 25, 2022
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A previously repaired weld seam developed a small leak, allowing diesel to seep into surrounding soil.

Response Actions:

Pipeline shutdown and contaminated soil excavation performed.

Quality control review of previous repairs conducted.

Pipeline weld inspection procedures updated.

Casualties & Injuries:

No injuries reported.

Incident Report 80: LPG Leak at Loading Terminal Due to Faulty Hose Connection

Date: November 10, 2023
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A hose coupling failure during an LPG loading operation caused a small vapor release, triggering gas alarms.

Response Actions:

Operations halted and vapor cloud dispersed.

Hose and coupling system replaced with enhanced fittings.

Routine hose integrity testing added to loading procedures.

Casualties & Injuries:

No injuries reported.

Incident Report 81: Gas Pipeline Leak Due to Soil Movement

Date: August 12, 2022
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

Heavy rains caused soil shifting, which resulted in a pipeline joint separation, leading to a minor gas leak.

Response Actions:

Pipeline segment isolated and depressurized.

Leak sealed and soil stabilization measures implemented.

Geotechnical monitoring increased in flood-prone areas.

Casualties & Injuries:

No injuries reported.

Incident Report 82: Compressor Station Fire Due to Mechanical Failure

Date: March 15, 2023**
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

A bearings failure in a gas compressor unit caused excessive friction, igniting leaked lubricating oil.

Response Actions:

Fire suppression systems activated, and station evacuated.

Damaged compressor unit replaced.

Lubrication system monitoring increased to prevent future failures.

Casualties & Injuries:

No injuries reported.

Incident Report 83: Diesel Spill at Pump Station Due to Valve Misalignment

Date: November 18, 2022
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A misaligned valve during routine maintenance caused a diesel spill at a pump station, affecting nearby containment areas.

Response Actions:

Valve realigned, and station personnel retrained on proper valve operation.

Spilled diesel recovered, and environmental remediation initiated.

Pump station automation upgraded to prevent manual misalignment.

Casualties & Injuries:

No injuries reported.

Incident Report 84: Gas Leak from Pipeline Due to External Impact

Date: July 9, 2021
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A third-party contractor accidentally struck a pipeline while digging, causing a minor gas leak.

Response Actions:

Pipeline isolated and emergency response initiated.

Excavation contractor fined for non-compliance with dig-safe laws.

Awareness campaigns launched for contractors working near pipelines.

Casualties & Injuries:

No injuries reported.

Incident Report 85: LPG Pipeline Rupture Due to Freezing Temperatures

Date: February 2, 2023
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

Extreme cold weather caused pipeline embrittlement, leading to a rupture and LPG release.

Response Actions:

Pipeline section shut down, and gas dispersion monitored.

New thermal insulation measures implemented.

Pipeline metallurgy upgraded for better cold-weather performance.

Casualties & Injuries:

No injuries reported.

Incident Report 86: Oil Leak from Tank Farm Due to Gasket Failure

Date: September 14, 2022
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A gasket failure on a tank farm pipeline connection led to a slow crude oil leak, detected during inspection.

Response Actions:

Leaking gasket replaced, and tank farm operations resumed.

Routine gasket inspections added to maintenance schedules.

Tank farm infrastructure upgraded with secondary containment measures.

Casualties & Injuries:

No injuries reported.

Incident Report 87: Hydrogen Sulfide Gas Release at Processing Facility

Date: December 5, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A processing unit valve failure led to an H₂S gas release, triggering emergency alarms.

Response Actions:

Facility shut down and employees evacuated.

Ventilation systems activated to disperse the gas safely.

Valves replaced, and sensor monitoring improved.

Casualties & Injuries:

One worker experienced mild respiratory irritation, treated on-site.

Incident Report 88: Diesel Pipeline Spill Due to Illegal Tapping

Date: May 22, 2022
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

Unauthorized individuals attempted to tap into a diesel pipeline, causing a spill.

Response Actions:

Pipeline operators detected abnormal pressure drop and shut down the affected section.

Law enforcement investigation launched.

Pipeline surveillance and security measures increased.

Casualties & Injuries:

No injuries reported.

Incident Report 89: Overpressure Incident at Gas Storage Facility

Date: August 8, 2021
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A pressure regulator failure led to excessive pressure buildup in a gas storage facility.

Response Actions:

Emergency venting system activated.

Pressure relief system upgraded to prevent recurrence.

Casualties & Injuries:

No injuries reported.

Incident Report 90: Lightning Strike Ignites Gas Pipeline Vent Stack

Date: April 3, 2023
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

A lightning strike hit a gas pipeline vent stack, igniting residual vapors.

Response Actions:

Fire suppression system activated immediately.

Pipeline section inspected for structural integrity.

Lightning protection system enhanced.

Casualties & Injuries:

No injuries reported.

Incident Report 91: Gas Leak Due to Faulty Valve at Compressor Station

Date: June 10, 2023
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A faulty control valve at a compressor station failed to close properly, leading to a slow but persistent natural gas leak.

Response Actions:

Emergency shutdown of the station and valve replaced.

Gas leak detection systems enhanced.

Routine valve testing increased to prevent recurrence.

Casualties & Injuries:

No injuries reported.

Incident Report 92: Diesel Spill from Pipeline Due to Structural Fatigue

Date: August 15, 2022
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A pipeline segment with pre-existing structural fatigue developed a small crack, leading to a diesel fuel leak.

Response Actions:

Pipeline section shut down for emergency repairs.

Damaged section replaced with high-strength steel.

Structural integrity testing enhanced for aging pipelines.

Casualties & Injuries:

No injuries reported.

Incident Report 93: Crude Oil Spill Due to Earthquake-Induced Fracture

Date: February 28, 2023
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A minor earthquake (4.8 magnitude) caused ground shifts, resulting in a stress fracture in an oil pipeline.

Response Actions:

Pipeline section isolated, and oil spill contained.

Seismic monitoring systems integrated into pipeline operations.

Structural reinforcements added to pipelines in seismic zones.

Casualties & Injuries:

No injuries reported.

Incident Report 94: Hydrogen Sulfide Gas Release at Refinery Facility

Date: May 21, 2022
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A pipeline transferring sour gas developed a leak near a refinery facility, releasing hydrogen sulfide gas into the atmosphere.

Response Actions:

Emergency shutdown and facility evacuation initiated.

Gas dispersion monitored to ensure safety before re-entry.

Pipeline corrosion protection measures upgraded.

Casualties & Injuries:

One worker experienced mild exposure symptoms, treated on-site.

Incident Report 95: Overpressure Event in Natural Gas Transmission Pipeline

Date: October 9, 2021
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A malfunction in a gas transmission pipeline regulator station caused a temporary overpressure condition.

Response Actions:

Automated relief system activated.

Pipeline pressure reduced, and equipment inspected.

Regulator station controls upgraded for better pressure management.

Casualties & Injuries:

No injuries reported.

Incident Report 96: Unauthorized Third-Party Digging Near Gas Pipeline

Date: November 30, 2022
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Near Miss)
PHMSA Guide Reference: Guide 115

Incident Description:

A construction company failed to notify pipeline operators before digging near a high-pressure gas pipeline, risking potential damage.

Response Actions:

Pipeline operators issued immediate stop-work order.

Regulatory violation reported, and fines imposed on contractor.

Public safety awareness campaign initiated for excavation near pipelines.

Casualties & Injuries:

No injuries reported.

Incident Report 97: LPG Release from Storage Tank Due to Faulty Valve

Date: September 14, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A pressure relief valve malfunction on an LPG storage tank led to a minor gas release, triggering emergency alarms.

Response Actions:

Storage facility evacuated as a precaution.

Valve replaced, and full facility inspection conducted.

Automated gas detection system installed for early warnings.

Casualties & Injuries:

No injuries reported.

Incident Report 98: Lightning Strike Ignites Oil Tank Vapors

Date: July 4, 2022
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

A lightning strike on an oil storage tank ignited residual vapors near the tank vent.

Response Actions:

Fire suppression system activated, preventing tank damage.

Lightning protection system enhanced at the storage facility.

Casualties & Injuries:

No injuries reported.

Incident Report 99: Gas Leak from Compressor Station Due to Aging Infrastructure

Date: December 22, 2023
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

An aging pipeline section at a compressor station developed a pinhole leak, detected by routine monitoring.

Response Actions:

Pipeline section isolated, and leak repaired.

Aging infrastructure replacement plan accelerated.

More frequent integrity testing scheduled for older assets.

Casualties & Injuries:

No injuries reported.

Incident Report 100: Unauthorized Access to Pipeline Right-of-Way

Date: February 3, 2023
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Security Concern)
PHMSA Guide Reference: N/A

Incident Description:

Unauthorized individuals were caught attempting to access a secured pipeline right-of-way, raising security concerns.

Response Actions:

Local law enforcement notified and security personnel dispatched.

Pipeline right-of-way monitoring increased with security cameras.

Public awareness campaign launched on pipeline security risks.

Casualties & Injuries:

No injuries reported.

Incident Report 101: Gas Leak Due to Internal Corrosion in Transmission Pipeline

Date: March 8, 2022
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A routine inline inspection detected internal corrosion in a high-pressure gas transmission pipeline, leading to a small but continuous leak.

Response Actions:

Pipeline section isolated, and emergency repair initiated.

Corroded section replaced with upgraded corrosion-resistant material.

Pipeline cleaning and corrosion inhibitor injection procedures improved.

Casualties & Injuries:

No injuries reported.

Incident Report 102: Diesel Spill at Pump Station Due to Valve Failure

Date: June 22, 2023
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A malfunctioning control valve at a diesel pump station failed to close, leading to fuel overflow into the secondary containment area.

Response Actions:

Pumping operations halted, and excess diesel removed.

Valve replaced, and all station components inspected.

Enhanced valve integrity monitoring procedures implemented.

Casualties & Injuries:

No injuries reported.

Incident Report 103: Compressor Station Overpressure Event Due to Regulator Malfunction

Date: September 17, 2021
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A pressure regulator failure at a compressor station caused overpressure in a downstream pipeline segment, triggering an emergency shutdown.

Response Actions:

Pipeline pressure relief system activated automatically.

Station equipment recalibrated to prevent further failures.

Overpressure protection training reinforced for operational teams.

Casualties & Injuries:

No injuries reported.

Incident Report 104: Crude Oil Spill Due to Landslide-Induced Pipeline Rupture

Date: April 28, 2022
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A landslide event shifted the soil supporting a buried crude oil pipeline, leading to a stress fracture and oil spill.

Response Actions:

Pipeline shutdown and emergency response teams deployed.

Geotechnical assessments conducted to identify further risks.

Pipeline rerouted to a more geologically stable location.

Casualties & Injuries:

No injuries reported.

Incident Report 105: Gas Pipeline Leak Due to Aging Infrastructure

Date: August 10, 2023
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

An aging pipeline segment developed a pinhole leak, detected via routine aerial patrols.

Response Actions:

Pipeline operations halted, and damaged section repaired.

Aging pipeline sections prioritized for replacement.

Inspection frequency increased for older assets.

Casualties & Injuries:

No injuries reported.

Incident Report 106: Unauthorized Excavation Leads to Pipeline Damage

Date: November 6, 2022
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Near Miss)
PHMSA Guide Reference: Guide 115

Incident Description:

A contractor failed to obtain clearance before excavating near a buried natural gas pipeline, damaging the pipeline coating but not causing a leak.

Response Actions:

Pipeline operators halted excavation and assessed potential damage.

Regulatory fines issued for non-compliance with excavation safety laws.

Public awareness campaign launched on safe digging near pipelines.

Casualties & Injuries:

No injuries reported.

Incident Report 107: Fire at Pump Station Due to Electrical Failure

Date: March 14, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

A faulty circuit breaker at a crude oil pump station caused an electrical short, igniting a small fire in the control panel.

Response Actions:

Local fire department responded and extinguished the fire.

Station power isolated, and faulty components replaced.

Electrical system inspections increased to identify potential failures.

Casualties & Injuries:

No injuries reported.

Incident Report 108: LPG Pipeline Rupture Due to Soil Erosion

Date: January 21, 2023**
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

Heavy rains caused soil erosion, which exposed a previously buried LPG pipeline, leading to structural stress and eventual rupture.

Response Actions:

Emergency shutdown initiated, and hazardous vapor monitoring conducted.

Pipeline section repaired, and additional soil reinforcement measures implemented.

Long-term erosion control projects started in high-risk areas.

Casualties & Injuries:

No injuries reported.

Incident Report 109: Oil Spill Due to Valve Failure at Storage Facility

Date: July 30, 2021
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A pressure relief valve failed to reseat properly, allowing a slow crude oil leak from a storage tank connection.

Response Actions:

Valve replaced, and storage operations temporarily halted.

Secondary containment barriers inspected and reinforced.

Enhanced maintenance procedures implemented for all pressure valves.

Casualties & Injuries:

No injuries reported.

Incident Report 110: Unauthorized Access to Pipeline Facility

Date: October 9, 2023
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Security Incident)
PHMSA Guide Reference: N/A

Incident Description:

Security personnel identified unauthorized individuals attempting to enter a secured pipeline facility, prompting an emergency response.

Response Actions:

Local law enforcement notified, and suspects detained.

Facility security measures upgraded with surveillance cameras.

Security awareness training conducted for all employees.

Casualties & Injuries:

No injuries reported.

Incident Report 111: Gas Pipeline Leak Due to External Corrosion

Date: April 11, 2022
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A routine pipeline integrity assessment revealed external corrosion, leading to a minor gas leak in a high-pressure transmission pipeline.

Response Actions:

Pipeline shutdown and emergency repair conducted.

Corrosion-resistant coatings applied to affected pipeline sections.

Cathodic protection system upgraded to prevent further corrosion.

Casualties & Injuries:

No injuries reported.

Incident Report 112: Diesel Spill Due to Gasket Failure at Pump Station

Date: September 6, 2023
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A gasket failure on a fuel transfer pump at a diesel distribution terminal resulted in a spill of 1,200 gallons of diesel fuel.

Response Actions:

Spilled diesel recovered and contaminated soil excavated.

Gaskets inspected and replaced across similar pump systems.

Routine maintenance protocols enhanced to detect early wear.

Casualties & Injuries:

No injuries reported.

Incident Report 113: Overpressure Event in Natural Gas Pipeline Due to Sensor Malfunction

Date: March 30, 2021
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A malfunctioning pressure sensor at a regulator station failed to signal an overpressure condition, leading to a temporary overpressure event in the pipeline system.

Response Actions:

Automated relief valves activated to vent excess gas safely.

Pipeline pressure control systems recalibrated.

Regular sensor health checks added to pipeline monitoring procedures.

Casualties & Injuries:

No injuries reported.

Incident Report 114: Crude Oil Pipeline Leak Due to Ground Movement

Date: November 18, 2022
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A series of small earthquakes in the region caused ground movement, leading to stress fractures in an underground crude oil pipeline.

Response Actions:

Pipeline shutdown and oil spill containment measures deployed.

Geotechnical assessments performed, and pipeline supports reinforced.

Seismic-resistant pipeline materials tested for future installations.

Casualties & Injuries:

No injuries reported.

Incident Report 115: Fire at Compressor Station Due to Electrical Failure

Date: January 25, 2023
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

An electrical short in a compressor control panel ignited a small fire within the facility, leading to a temporary shutdown.

Response Actions:

Fire suppression system activated, extinguishing the fire.

Electrical panel inspected and replaced.

New fire-resistant enclosures installed for critical electrical components.

Casualties & Injuries:

No injuries reported.

Incident Report 116: Unauthorized Third-Party Digging Near Gas Pipeline

Date: August 7, 2021
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Near Miss)
PHMSA Guide Reference: Guide 115

Incident Description:

A construction crew began excavation without notifying pipeline operators, risking potential damage to a buried high-pressure gas pipeline.

Response Actions:

Pipeline operators halted work and assessed for potential damage.

Contractor fined for violating excavation safety laws.

Public outreach efforts increased for safe digging awareness.

Casualties & Injuries:

No injuries reported.

Incident Report 117: Lightning Strike Ignites Gas Vent Stack at Processing Plant

Date: May 16, 2022
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

A lightning strike hit a vent stack at a gas processing facility, igniting residual gas vapors and triggering a fire.

Response Actions:

Fire suppression systems activated immediately.

Lightning protection enhanced at the processing facility.

Vapor recovery system improved to prevent residual gas accumulation.

Casualties & Injuries:

No injuries reported.

Incident Report 118: Diesel Pipeline Leak Due to Improper Welding Repair

Date: October 29, 2022
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A weld repair on a diesel pipeline failed prematurely, leading to a small but continuous fuel leak.

Response Actions:

Pipeline section isolated and weld repair redone using improved techniques.

Quality control for welding procedures enhanced.

Post-repair pipeline integrity monitoring increased.

Casualties & Injuries:

No injuries reported.

Incident Report 119: LPG Release Due to Valve Packing Failure

Date: December 14, 2023
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A leaking valve packing on an LPG metering station resulted in a small but detectable gas release.

Response Actions:

Station shut down, and valve packing replaced.

Routine valve inspections increased to detect early failures.

Casualties & Injuries:

No injuries reported.

Incident Report 120: Unauthorized Access Attempt at Pipeline Facility

Date: February 2, 2024
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Security Event)
PHMSA Guide Reference: N/A

Incident Description:

Security teams detected unauthorized personnel attempting to enter a secured pipeline facility, leading to an investigation.

Response Actions:

Local law enforcement notified, and intruders apprehended.

Surveillance system upgraded with motion detection.

Security training reinforced for facility personnel.

Casualties & Injuries:

No injuries reported.

Incident Report 121: Gas Leak at Compressor Station Due to Aging Seals

Date: April 19, 2022
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A compressor station reported a minor gas leak, traced back to worn-out sealing components in one of the units.

Response Actions:

Compressor unit shut down, and all seals replaced.

Leak monitoring frequency increased at the station.

Maintenance schedule updated for early detection of worn seals.

Casualties & Injuries:

No injuries reported.

Incident Report 122: Crude Oil Pipeline Leak Due to Soil Movement

Date: August 12, 2023
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

Heavy rain and soil movement caused stress on a buried pipeline section, resulting in a pinhole leak.

Response Actions:

Pipeline shut down, and affected section excavated and repaired.

Geotechnical stabilization conducted in the area.

Regular inspections implemented for soil stability monitoring.

Casualties & Injuries:

No injuries reported.

Incident Report 123: LPG Leak from Pump Station Due to Valve Misalignment

Date: May 7, 2022
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

An operator misaligned a valve during a transfer operation, causing an unintentional LPG release.

Response Actions:

Transfer operations stopped immediately.

Valve alignment procedures reinforced through staff training.

Automated valve monitoring installed to prevent misalignments.

Casualties & Injuries:

No injuries reported.

Incident Report 124: Overpressure Incident in Gas Pipeline Due to Regulator Failure

Date: September 15, 2021
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A pressure regulator malfunction at a compressor station led to temporary overpressure in a downstream pipeline segment.

Response Actions:

Pressure relief valves activated automatically.

Regulator station shut down and recalibrated.

Preventive maintenance schedules adjusted for all pressure regulators.

Casualties & Injuries:

No injuries reported.

Incident Report 125: Unauthorized Excavation Near Crude Oil Pipeline

Date: February 6, 2023
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Near Miss)
PHMSA Guide Reference: Guide 128

Incident Description:

A construction company failed to verify underground pipelines before digging, narrowly avoiding damaging a crude oil transmission pipeline.

Response Actions:

Work halted, and regulatory authorities notified.

Public awareness campaign launched about safe excavation near pipelines.

Excavation companies required to undergo additional safety training.

Casualties & Injuries:

No injuries reported.

Incident Report 126: Diesel Pipeline Leak Due to Aging Infrastructure

Date: October 21, 2022
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

An aging section of pipeline developed a small leak, allowing diesel fuel to seep into nearby soil.

Response Actions:

Pipeline section isolated, and contaminated soil removed.

Aging pipeline infrastructure prioritized for replacement.

Long-term monitoring for potential future leaks in the area.

Casualties & Injuries:

No injuries reported.

Incident Report 127: Fire at Compressor Station Due to Lubricant Overheating

Date: July 14, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

A lubrication system failure in a compressor unit caused overheating, igniting nearby residues and triggering a fire.

Response Actions:

Fire suppression system activated immediately.

Lubrication systems inspected and maintenance procedures improved.

Temperature monitoring sensors added to detect overheating early.

Casualties & Injuries:

No injuries reported.

Incident Report 128: Jet Fuel Spill Due to Faulty Hose Coupling

Date: January 3, 2023
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Jet Fuel (UN 1863)
PHMSA Guide Reference: Guide 128

Incident Description:

A faulty hose coupling during fuel transfer operations resulted in a small spill of jet fuel at a loading terminal.

Response Actions:

Operations stopped, and fuel spill contained.

Defective hose coupling replaced with an upgraded design.

Routine coupling integrity testing added to maintenance procedures.

Casualties & Injuries:

No injuries reported.

Incident Report 129: Gas Pipeline Rupture Due to Excavation Damage

Date: May 29, 2021
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A third-party excavation crew struck a high-pressure natural gas pipeline, causing an immediate rupture and gas release.

Response Actions:

Pipeline shutdown and emergency responders deployed.

Excavation company fined for non-compliance with safety regulations.

Public safety training reinforced for excavation crews.

Casualties & Injuries:

Two workers suffered minor injuries from debris impact.

Incident Report 130: Hydrogen Sulfide Gas Release at Processing Facility

Date: March 7, 2024
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A valve failure in a sour gas processing unit led to a hydrogen sulfide (H₂S) gas release, triggering alarm systems.

Response Actions:

Facility evacuated, and emergency response teams deployed.

Gas dispersion monitored, and ventilation system engaged.

Valve replaced, and maintenance procedures improved.

Casualties & Injuries:

One worker suffered mild respiratory distress and received treatment on-site.

Incident Report 131: Gas Leak at Compressor Station Due to Gasket Failure

Date: June 15, 2022
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A compressor station detected a gas leak caused by a failing gasket in the high-pressure pipeline connection.

Response Actions:

Compressor unit isolated, and faulty gasket replaced.

All gaskets inspected and reinforced where necessary.

Routine gasket integrity checks added to maintenance protocols.

Casualties & Injuries:

No injuries reported.

Incident Report 132: Diesel Spill at Pump Station Due to Hose Rupture

Date: August 19, 2023
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A hose rupture during a routine fuel transfer operation resulted in a minor diesel spill at a pump station.

Response Actions:

Pumping operations halted, and spill contained using absorbent materials.

Hose replaced, and quality control procedures reviewed.

Routine hose inspections increased to prevent future failures.

Casualties & Injuries:

No injuries reported.

Incident Report 133: Unauthorized Excavation Damages Oil Pipeline Coating

Date: March 3, 2021
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Near Miss)
PHMSA Guide Reference: Guide 128

Incident Description:

A third-party excavation crew failed to check for underground pipelines, scraping the protective coating of an oil pipeline without causing a leak.

Response Actions:

Pipeline operators conducted integrity assessments to confirm no damage.

Excavation crew fined for violating dig safety regulations.

Public awareness campaign launched for excavation safety.

Casualties & Injuries:

No injuries reported.

Incident Report 134: Fire at Compressor Station Due to Turbocharger Failure

Date: September 11, 2022
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

A turbocharger in a compressor unit overheated, leading to a small fire in the engine compartment.

Response Actions:

Fire suppression system activated automatically.

Station shut down for inspection and repairs.

Additional cooling systems installed to prevent future overheating.

Casualties & Injuries:

No injuries reported.

Incident Report 135: LPG Pipeline Rupture Due to Pressure Spike

Date: December 28, 2023
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A sudden pressure spike in an LPG pipeline caused a pipeline rupture, leading to an uncontrolled release of gas.

Response Actions:

Emergency shutdown activated, and pipeline section isolated.

Gas dispersion monitored before allowing reentry.

Pressure control systems inspected and recalibrated.

Casualties & Injuries:

No injuries reported.

Incident Report 136: Oil Pipeline Leak Due to Ground Shifting

Date: July 8, 2021
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A series of heavy rains caused minor ground shifting, leading to a stress fracture in an underground oil pipeline.

Response Actions:

Pipeline section isolated, and oil spill contained.

Geotechnical assessments conducted to evaluate soil stability.

Pipeline reinforced with additional support structures.

Casualties & Injuries:

No injuries reported.

Incident Report 137: Overpressure Event in Gas Transmission System

Date: May 17, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A faulty control valve failed to regulate pressure, causing an overpressure event in the gas transmission system.

Response Actions:

Emergency venting system activated to relieve excess pressure.

Control valve replaced and recalibrated.

Pipeline pressure monitoring upgraded for early detection.

Casualties & Injuries:

No injuries reported.

Incident Report 138: Unauthorized Access to Pipeline Facility

Date: January 15, 2024
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Security Concern)
PHMSA Guide Reference: N/A

Incident Description:

Security cameras captured unauthorized individuals attempting to breach a secured pipeline facility, prompting a response from security teams.

Response Actions:

Local law enforcement notified, and security personnel deployed.

Surveillance and alarm systems upgraded at the facility.

Security training for staff reinforced to respond to potential threats.

Casualties & Injuries:

No injuries reported.

Incident Report 139: Gas Leak from Underground Storage Facility Due to Seal Failure

Date: October 23, 2022
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A seal failure in an underground storage well caused a minor but persistent natural gas leak, detected through monitoring systems.

Response Actions:

Storage facility operations halted, and leak sealed.

Seals replaced, and well integrity testing conducted.

Preventive maintenance schedule increased for all storage wells.

Casualties & Injuries:

No injuries reported.

Incident Report 140: Crude Oil Spill Due to Faulty Pump Seal at Transfer Station

Date: February 11, 2023
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A faulty seal in a crude oil pump system at a transfer station resulted in a spill of 5,000 gallons of oil.

Response Actions:

Transfer operations halted, and spilled oil contained.

Pump seal replaced and monitored for further leaks.

Routine inspections increased for all transfer equipment.

Casualties & Injuries:

No injuries reported.

Incident Report 141: Gas Leak at Compressor Station Due to Equipment Failure

Date: June 22, 2023
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A compressor station experienced an unplanned shutdown due to a malfunctioning gas control valve, leading to a minor leak before the station was depressurized.

Response Actions:

Emergency shutdown initiated, and affected pipeline section isolated.

Control valve repaired and system recalibrated.

Compressor station maintenance frequency increased.

Casualties & Injuries:

No injuries reported.

Incident Report 142: Diesel Spill Due to Corrosion in Pipeline Segment

Date: August 30, 2021
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A routine pipeline inspection detected external corrosion, which resulted in a small diesel leak into the soil.

Response Actions:

Pipeline shutdown and spill containment measures activated.

Pipeline section excavated and corroded segment replaced.

Corrosion control measures, including cathodic protection, reinforced.

Casualties & Injuries:

No injuries reported.

Incident Report 143: Overpressure Event in Crude Oil Pipeline Due to Sensor Malfunction

Date: March 5, 2022
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A pressure sensor failure in an oil transmission pipeline led to a temporary overpressure event, triggering emergency shutdown protocols.

Response Actions:

Automated relief system activated to safely release excess pressure.

Sensor replaced and pressure monitoring system recalibrated.

Preventive maintenance schedule updated for pressure control devices.

Casualties & Injuries:

No injuries reported.

Incident Report 144: Unauthorized Excavation Near Natural Gas Pipeline

Date: October 12, 2022
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Near Miss)
PHMSA Guide Reference: Guide 115

Incident Description:

A construction crew operating heavy machinery was discovered digging within 20 feet of a high-pressure gas transmission pipeline without proper authorization.

Response Actions:

Excavation work halted, and crew removed from the site.

Pipeline integrity assessment conducted to ensure no damage.

Regulatory fines issued against the contractor.

Casualties & Injuries:

No injuries reported.

Incident Report 145: Fire at Gas Processing Facility Due to Electrical Malfunction

Date: July 4, 2023
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

A short circuit in a processing facility’s electrical panel resulted in a small fire in the control room.

Response Actions:

Fire suppression system activated, preventing damage to gas processing equipment.

Electrical panel inspected, replaced, and facility power restored.

Routine electrical system checks reinforced to detect early failures.

Casualties & Injuries:

No injuries reported.

Incident Report 146: Gas Leak from Underground Pipeline Due to Tree Root Intrusion

Date: November 14, 2021
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A tree root penetrated the protective coating of an underground gas pipeline, leading to external corrosion and a slow leak.

Response Actions:

Pipeline shutdown, and affected section excavated and repaired.

Vegetation management protocols reviewed and updated.

Tree root barriers installed along pipeline right-of-way.

Casualties & Injuries:

No injuries reported.

Incident Report 147: LPG Pipeline Leak Due to Improper Weld Repair

Date: May 27, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A previously repaired pipeline weld failed under pressure, leading to a small LPG release, which was detected via remote monitoring.

Response Actions:

Pipeline section isolated and emergency repair conducted.

Welding standards reviewed and quality control procedures enhanced.

Pipeline integrity testing expanded for recent weld repairs.

Casualties & Injuries:

No injuries reported.

Incident Report 148: Lightning Strike Causes Fire at Oil Storage Tank

Date: January 9, 2023
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

A lightning strike ignited residual vapors around an oil storage tank, leading to a small fire that was contained within minutes.

Response Actions:

Fire suppression system activated automatically.

Storage tank integrity inspection conducted before resuming operations.

Additional lightning protection installed at the facility.

Casualties & Injuries:

No injuries reported.

Incident Report 149: Crude Oil Pipeline Spill Due to Structural Fatigue

Date: August 22, 2021
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A pipeline segment with structural fatigue developed a stress crack, leading to a slow oil leak that was detected during a routine patrol.

Response Actions:

Pipeline section shut down, and leak contained.

Aging pipeline sections prioritized for replacement.

Enhanced pipeline integrity testing scheduled.

Casualties & Injuries:

No injuries reported.

Incident Report 150: Hydrogen Sulfide Gas Release at Refinery Facility

Date: March 19, 2024
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A control valve failure in a sour gas processing unit led to a hydrogen sulfide gas release, triggering emergency response protocols.

Response Actions:

Facility personnel evacuated, and emergency responders deployed.

Gas dispersion monitored before allowing personnel reentry.

Valve replaced, and enhanced leak detection systems installed.

Casualties & Injuries:

One worker suffered minor respiratory distress, treated on-site.

Incident Report 151: Gas Pipeline Leak Due to Improperly Seated Valve

Date: May 10, 2023
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A pressure relief valve failed to reseat properly, leading to a small but continuous gas release detected by monitoring systems.

Response Actions:

Pipeline section isolated, and faulty valve replaced.

All similar valves inspected and recalibrated.

Preventive maintenance program updated for valve integrity monitoring.

Casualties & Injuries:

No injuries reported.

Incident Report 152: Diesel Spill at Pump Station Due to Overfilling

Date: August 28, 2021
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A diesel storage tank at a pump station was accidentally overfilled, causing fuel to spill into the secondary containment system.

Response Actions:

Operations halted, and excess diesel recovered.

Automated level monitoring installed to prevent overfills.

Training program reinforced for proper fuel transfer procedures.

Casualties & Injuries:

No injuries reported.

Incident Report 153: Unauthorized Excavation Damages Natural Gas Pipeline Coating

Date: April 5, 2022
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Near Miss)
PHMSA Guide Reference: Guide 115

Incident Description:

A construction crew working near a gas pipeline failed to confirm its exact location, scraping the protective coating but avoiding a rupture.

Response Actions:

Pipeline operators conducted integrity assessments and recoated the pipeline.

Excavation contractor fined for non-compliance.

Additional safety awareness sessions scheduled for construction teams.

Casualties & Injuries:

No injuries reported.

Incident Report 154: Fire at Compressor Station Due to Control Panel Short Circuit

Date: October 20, 2023
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

An electrical fault in a compressor control panel caused a small fire, temporarily disrupting station operations.

Response Actions:

Fire suppression system activated and fire contained.

Electrical panels inspected and damaged components replaced.

Routine electrical inspections reinforced.

Casualties & Injuries:

No injuries reported.

Incident Report 155: LPG Pipeline Rupture Due to High Internal Pressure

Date: January 2, 2022
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A pressure control system failure led to excessive pressure buildup, rupturing a section of an LPG transmission pipeline.

Response Actions:

Pipeline shutdown, and affected section isolated.

Automated relief valves upgraded for improved response times.

Pipeline pressure control systems recalibrated.

Casualties & Injuries:

No injuries reported.

Incident Report 156: Oil Pipeline Leak Due to Mechanical Failure in Pump System

Date: July 14, 2021
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A pump system failure resulted in backflow and leakage from an oil pipeline, triggering emergency shutdown procedures.

Response Actions:

Pipeline operations halted, and leaked oil contained.

Pump system repaired and tested for further failures.

Emergency shutdown protocols reviewed and refined.

Casualties & Injuries:

No injuries reported.

Incident Report 157: Overpressure Event in Gas Pipeline Due to Software Glitch

Date: May 25, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A glitch in the SCADA (Supervisory Control and Data Acquisition) system caused incorrect valve positioning, leading to temporary overpressure in a transmission pipeline.

Response Actions:

Automated relief system activated.

SCADA software updated and additional safety failsafes implemented.

Personnel training increased on system failure response.

Casualties & Injuries:

No injuries reported.

Incident Report 158: Lightning Strike at Pump Station Causes Minor Fire

Date: January 18, 2023
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

A lightning strike hit the control building of a pump station, igniting minor electrical fires inside.

Response Actions:

Fire suppression system activated automatically.

Electrical panels inspected and replaced.

Lightning protection system upgraded.

Casualties & Injuries:

No injuries reported.

Incident Report 159: Crude Oil Spill Due to Human Error in Transfer Operations

Date: September 9, 2021
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A pump operator failed to close a valve properly, causing crude oil to be pumped beyond capacity, resulting in a spill.

Response Actions:

Transfer operations halted, and spill contained.

Pump operators retrained on proper transfer procedures.

Additional automated shutoffs installed to prevent overfilling.

Casualties & Injuries:

No injuries reported.

Incident Report 160: Hydrogen Sulfide Gas Release at Processing Facility

Date: March 10, 2024
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A processing plant experienced a failure in its pressure relief system, resulting in a hydrogen sulfide gas release into the facility.

Response Actions:

Emergency alarms activated, and facility personnel evacuated.

Gas dispersion monitored, and ventilation system engaged.

Pressure relief system reviewed and upgraded to prevent recurrence.

Casualties & Injuries:

One worker suffered minor exposure symptoms, treated on-site.

Incident Report 161: Gas Pipeline Leak Due to Pipe Seam Failure

Date: June 5, 2023
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A manufacturing defect in a pipeline seam resulted in a small but continuous natural gas leak, detected through aerial infrared surveys.

Response Actions:

Pipeline section isolated, and defective seam repaired.

All similar pipeline sections inspected for potential weaknesses.

Pipeline manufacturing standards reviewed and reinforced.

Casualties & Injuries:

No injuries reported.

Incident Report 162: Diesel Spill at Storage Facility Due to Hose Rupture

Date: August 10, 2021
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A transfer hose ruptured during fuel transfer operations, spilling approximately 1,500 gallons of diesel fuel within the secondary containment area.

Response Actions:

Operations stopped, and spill contained using absorbent materials.

All hoses inspected for potential defects and weak points.

Routine hose pressure testing procedures strengthened.

Casualties & Injuries:

No injuries reported.

Incident Report 163: Unauthorized Excavation Near Crude Oil Pipeline

Date: April 21, 2022
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Near Miss)
PHMSA Guide Reference: Guide 128

Incident Description:

A contractor conducting roadwork unknowingly began excavating near an active crude oil transmission pipeline without notifying the operator.

Response Actions:

Excavation work halted immediately.

Pipeline integrity verified to confirm no damage.

Regulatory fines issued, and excavation safety training mandated.

Casualties & Injuries:

No injuries reported.

Incident Report 164: Fire at Gas Compressor Station Due to Lubrication System Failure

Date: October 15, 2023
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

A lubrication pump failure caused excessive friction in a gas compressor unit, leading to a small fire within the compressor housing.

Response Actions:

Fire suppression system activated, preventing spread.

Lubrication system replaced and preventive measures reviewed.

Thermal sensors installed to detect early overheating signs.

Casualties & Injuries:

No injuries reported.

Incident Report 165: LPG Pipeline Rupture Due to Temperature Fluctuations

Date: January 8, 2022
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A sudden temperature drop caused thermal stress in an LPG pipeline, leading to a rupture and gas release.

Response Actions:

Pipeline operations halted, and emergency response initiated.

Pipeline reinforced with temperature-resistant materials.

Weather-based operational adjustments implemented.

Casualties & Injuries:

No injuries reported.

Incident Report 166: Oil Spill Due to Structural Fatigue in Storage Tank

Date: July 19, 2021
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A storage tank developed a crack due to long-term structural fatigue, causing a crude oil leak of approximately 10,000 gallons.

Response Actions:

Spill containment activated, and oil recovered.

Tank integrity assessed, and structural reinforcement implemented.

Routine stress testing added for storage tanks.

Casualties & Injuries:

No injuries reported.

Incident Report 167: Overpressure Incident in Gas Pipeline Due to SCADA Malfunction

Date: May 11, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A SCADA (Supervisory Control and Data Acquisition) system error resulted in delayed pressure relief activation, causing a temporary overpressure event.

Response Actions:

Automated relief system activated manually by operators.

SCADA software updated to improve response time.

Additional operator training conducted for manual intervention.

Casualties & Injuries:

No injuries reported.

Incident Report 168: Lightning Strike at Storage Facility Causes Small Fire

Date: February 2, 2023
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

A lightning strike at a crude oil storage facility ignited vapors near a tank vent, causing a small fire that was contained within minutes.

Response Actions:

Fire suppression system activated, preventing further damage.

Lightning protection system upgraded at the facility.

Tank venting procedures reviewed to reduce vapor accumulation.

Casualties & Injuries:

No injuries reported.

Incident Report 169: Crude Oil Pipeline Leak Due to Pipeline Age

Date: September 3, 2021
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

An aging pipeline segment developed a small crack, leading to a crude oil leak detected by remote monitoring systems.

Response Actions:

Pipeline section shut down, and oil spill contained.

Aging pipeline replacement project accelerated.

Leak detection system enhanced for older pipeline sections.

Casualties & Injuries:

No injuries reported.

Incident Report 170: Hydrogen Sulfide Gas Release at Processing Plant

Date: March 4, 2024
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A pressure valve malfunction in a sour gas processing unit caused a brief hydrogen sulfide gas release, prompting emergency evacuation.

Response Actions:

Facility personnel evacuated, and emergency response teams deployed.

Gas dispersion monitored to ensure safety before reentry.

Pressure control systems reviewed and reinforced.

Casualties & Injuries:

One worker experienced mild exposure symptoms, treated on-site.

Incident Report 171: Gas Pipeline Leak Due to Improper Welding

Date: June 14, 2023
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A recently welded pipeline joint failed under pressure, resulting in a minor but continuous gas leak, detected by remote monitoring.

Response Actions:

Pipeline section isolated, and weld repaired.

Inspection of all recent welding work conducted.

Enhanced training provided to welding personnel.

Casualties & Injuries:

No injuries reported.

Incident Report 172: Diesel Spill at Loading Terminal Due to Equipment Malfunction

Date: August 5, 2021
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A faulty pressure relief valve on a loading arm failed to close properly, causing diesel fuel to overflow onto the terminal floor.

Response Actions:

Operations halted, and spill contained using absorbent materials.

Faulty valve replaced and tested.

Additional safety inspections scheduled for all terminal equipment.

Casualties & Injuries:

No injuries reported.

Incident Report 173: Unauthorized Excavation Near Natural Gas Pipeline

Date: April 17, 2022
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Near Miss)
PHMSA Guide Reference: Guide 115

Incident Description:

A construction crew operating heavy machinery started digging without verifying the location of underground pipelines, endangering a high-pressure gas line.

Response Actions:

Excavation work halted, and crew removed from site.

Pipeline integrity verified to confirm no damage.

Regulatory fines issued, and additional training mandated.

Casualties & Injuries:

No injuries reported.

Incident Report 174: Fire at Compressor Station Due to Electrical Panel Failure

Date: October 25, 2023
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

An electrical panel in the compressor station short-circuited, igniting a small fire inside the control room.

Response Actions:

Fire suppression system activated, preventing further spread.

Electrical panel replaced, and station power restored.

Regular electrical safety audits scheduled.

Casualties & Injuries:

No injuries reported.

Incident Report 175: LPG Pipeline Rupture Due to Pressure Regulator Failure

Date: January 10, 2022
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A pressure regulator malfunctioned, leading to an overpressure event and subsequent rupture in an LPG pipeline.

Response Actions:

Pipeline operations halted, and emergency response initiated.

Regulator replaced, and control systems upgraded.

Pressure monitoring systems recalibrated.

Casualties & Injuries:

No injuries reported.

Incident Report 176: Oil Pipeline Leak Due to Pipe Fatigue

Date: July 30, 2021
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

An aging pipeline segment developed a hairline crack, leading to a slow oil leak detected by routine monitoring.

Response Actions:

Pipeline section shut down, and damaged portion replaced.

Aging infrastructure review conducted, and repairs prioritized.

Pipeline integrity monitoring enhanced.

Casualties & Injuries:

No injuries reported.

Incident Report 177: Overpressure Incident in Gas Pipeline Due to Software Glitch

Date: May 6, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A SCADA (Supervisory Control and Data Acquisition) software error resulted in a delayed pressure release activation, leading to a temporary overpressure event.

Response Actions:

Manual relief system activated by operators.

SCADA software patched and additional failsafes implemented.

Operator training conducted on responding to automation failures.

Casualties & Injuries:

No injuries reported.

Incident Report 178: Lightning Strike Causes Fire at Crude Oil Storage Facility

Date: February 15, 2023
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

A lightning strike at a crude oil storage tank farm ignited vapors near a tank vent, leading to a minor fire that was extinguished quickly.

Response Actions:

Fire suppression system activated automatically.

Storage tank inspected for integrity before resuming operations.

Lightning protection system enhanced.

Casualties & Injuries:

No injuries reported.

Incident Report 179: Crude Oil Pipeline Leak Due to Improperly Seated Gasket

Date: September 12, 2021
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A pipeline gasket was not seated correctly, allowing small amounts of crude oil to seep from a flange connection.

Response Actions:

Pipeline section isolated, and gasket replaced.

All pipeline connections reviewed for proper installation.

Additional training provided for maintenance teams.

Casualties & Injuries:

No injuries reported.

Incident Report 180: Hydrogen Sulfide Gas Release at Refinery

Date: March 9, 2024
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A valve malfunction in a refinery unit caused a brief but concentrated release of hydrogen sulfide gas, prompting an emergency shutdown.

Response Actions:

Emergency alarms activated, and refinery personnel evacuated.

Ventilation systems engaged, and gas dispersion monitored.

Defective valve replaced, and leak detection systems upgraded.

Casualties & Injuries:

One worker suffered mild exposure symptoms, treated on-site.

Incident Report 181: Gas Pipeline Leak Due to Frost Heave Damage

Date: May 2, 2023
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

Extreme cold weather caused frost heave, leading to shifting soil conditions that stressed and cracked a buried gas pipeline.

Response Actions:

Pipeline section isolated, and crack repaired.

Geotechnical assessments conducted to evaluate soil movement risks.

Additional support structures installed in frost-prone areas.

Casualties & Injuries:

No injuries reported.

Incident Report 182: Diesel Spill at Pump Station Due to Valve Malfunction

Date: August 8, 2021
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

A pump station control valve failed to close completely, leading to an overflow of diesel into the containment basin.

Response Actions:

Pumping operations halted, and spill contained.

Valve repaired, and inspection schedule updated.

Automated valve shutoff systems reviewed and improved.

Casualties & Injuries:

No injuries reported.

Incident Report 183: Unauthorized Excavation Damages Gas Pipeline Coating

Date: April 12, 2022
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Near Miss)
PHMSA Guide Reference: Guide 115

Incident Description:

A construction crew operating heavy equipment unknowingly dug within five feet of a high-pressure gas pipeline, scraping its protective coating.

Response Actions:

Excavation work halted immediately.

Pipeline coating repaired and integrity assessment performed.

Contractor fined for violating dig safety regulations.

Casualties & Injuries:

No injuries reported.

Incident Report 184: Fire at Gas Processing Facility Due to Flammable Vapor Ignition

Date: October 27, 2023
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 115

Incident Description:

A gas processing plant reported a fire caused by the ignition of flammable vapors near a gas dehydration unit.

Response Actions:

Fire suppression system activated and fire contained.

Facility shut down for damage assessment.

Upgraded ventilation system to prevent future vapor buildup.

Casualties & Injuries:

No injuries reported.

Incident Report 185: LPG Pipeline Rupture Due to Metal Fatigue

Date: January 12, 2022
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A pipeline section weakened by long-term metal fatigue developed a rupture under pressure, releasing LPG into the environment.

Response Actions:

Emergency shutdown and evacuation of the surrounding area.

Damaged pipeline section replaced with reinforced material.

Pipeline monitoring frequency increased in aging sections.

Casualties & Injuries:

No injuries reported.

Incident Report 186: Oil Pipeline Leak Due to Improperly Sealed Flange

Date: July 22, 2021
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A flange connection on a newly installed pipeline segment was improperly sealed, leading to a slow crude oil leak.

Response Actions:

Pipeline section shut down, and flange resealed.

Quality control procedures improved for flange installations.

Leak detection inspections increased for new pipeline segments.

Casualties & Injuries:

No injuries reported.

Incident Report 187: Overpressure Incident in Gas Pipeline Due to Blocked Relief Valve

Date: May 8, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A blocked pressure relief valve failed to vent excess pressure, causing a temporary overpressure event in a gas transmission pipeline.

Response Actions:

Pipeline depressurized manually to prevent rupture.

Relief valve repaired and blockage removed.

Routine valve inspections scheduled to prevent future blockages.

Casualties & Injuries:

No injuries reported.

Incident Report 188: Lightning Strike at Storage Tank Causes Fire

Date: February 18, 2023
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

A lightning strike at an oil storage facility ignited vapors near a tank vent, causing a localized fire that was quickly extinguished.

Response Actions:

Fire suppression system activated automatically.

Tank integrity assessment performed.

Facility lightning protection system enhanced.

Casualties & Injuries:

No injuries reported.

Incident Report 189: Crude Oil Pipeline Leak Due to Aging Infrastructure

Date: September 18, 2021
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A pipeline segment installed in the 1980s developed a small stress fracture, leading to a slow crude oil leak.

Response Actions:

Pipeline section isolated, and damaged portion replaced.

Aging pipeline replacement program accelerated.

Remote leak detection system improved.

Casualties & Injuries:

No injuries reported.

Incident Report 190: Hydrogen Sulfide Gas Release at Refinery Due to Valve Malfunction

Date: March 13, 2024
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A pressure relief valve in a refinery unit failed to reseat properly, leading to a release of hydrogen sulfide gas.

Response Actions:

Emergency alarms activated, and personnel evacuated.

Valve repaired, and gas dispersion monitored.

Additional failsafe mechanisms installed in pressure control systems.

Casualties & Injuries:

One worker experienced mild exposure symptoms, treated on-site.

Incident Report 191: Gas Pipeline Leak Due to External Corrosion

Date: June 20, 2023
Location: Houston, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A corroded section of an underground gas pipeline developed a pinhole leak, detected through routine aerial surveys.

Response Actions:

Pipeline section isolated, and corroded portion replaced.

Enhanced corrosion protection measures applied.

Pipeline inspection frequency increased in corrosion-prone areas.

Casualties & Injuries:

No injuries reported.

Incident Report 192: Diesel Spill Due to Human Error in Transfer Operation

Date: August 14, 2021
Location: Midland, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Diesel Fuel (UN 1202)
PHMSA Guide Reference: Guide 128

Incident Description:

An operator failed to shut off a transfer valve in time, leading to diesel overflow into a containment area.

Response Actions:

Operations halted, and spill contained using absorbents.

Operator retrained on proper transfer protocols.

Automated shutoff systems installed to prevent similar incidents.

Casualties & Injuries:

No injuries reported.

Incident Report 193: Unauthorized Excavation Near High-Pressure Gas Pipeline

Date: April 5, 2022
Location: Denver, Colorado
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Near Miss)
PHMSA Guide Reference: Guide 115

Incident Description:

A contractor performing foundation work failed to verify the presence of underground pipelines, coming within three feet of a high-pressure gas line.

Response Actions:

Excavation work halted immediately.

Pipeline integrity verified through inspection.

Contractor fined, and safety training mandated.

Casualties & Injuries:

No injuries reported.

Incident Report 194: Fire at Pump Station Due to Electrical Short

Date: October 30, 2023
Location: Cheyenne, Wyoming
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

An electrical short in a pump control panel caused a small fire, shutting down station operations temporarily.

Response Actions:

Fire suppression system activated, and fire contained.

Electrical panel replaced, and station power restored.

Routine electrical safety audits increased.

Casualties & Injuries:

No injuries reported.

Incident Report 195: LPG Pipeline Leak Due to Improper Weld Repair

Date: January 20, 2022
Location: Pittsburgh, Pennsylvania
Pipeline Operator: XYZ Pipeline Company
Material Released: Liquefied Petroleum Gas (LPG) (UN 1075)
PHMSA Guide Reference: Guide 115

Incident Description:

A weld repair on an LPG pipeline failed prematurely, causing a minor gas release, detected via remote monitoring.

Response Actions:

Pipeline section isolated, and defective weld repaired.

Additional quality controls introduced for welding procedures.

Enhanced pipeline integrity inspections implemented.

Casualties & Injuries:

No injuries reported.

Incident Report 196: Oil Pipeline Leak Due to Earthquake-Induced Stress Fracture

Date: July 26, 2021**
Location: Baton Rouge, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

A minor earthquake (4.5 magnitude) caused ground movement, leading to a stress fracture in a buried crude oil pipeline.

Response Actions:

Pipeline section isolated, and spill contained.

Geotechnical surveys conducted to assess seismic risks.

Seismic-resistant pipeline reinforcement installed in the area.

Casualties & Injuries:

No injuries reported.

Incident Report 197: Overpressure Event in Gas Pipeline Due to Blocked Vent Line

Date: May 14, 2023
Location: Corpus Christi, Texas
Pipeline Operator: XYZ Pipeline Company
Material Released: Natural Gas (UN 1971)
PHMSA Guide Reference: Guide 115

Incident Description:

A vent line blockage prevented pressure release, leading to temporary overpressure in a transmission pipeline.

Response Actions:

Emergency venting conducted manually.

Blocked vent line cleared and additional inspections performed.

Pipeline pressure monitoring systems upgraded.

Casualties & Injuries:

No injuries reported.

Incident Report 198: Lightning Strike Causes Fire at Refinery Storage Tank

Date: February 25, 2023
Location: New Orleans, Louisiana
Pipeline Operator: XYZ Pipeline Company
Material Released: None (Fire Event)
PHMSA Guide Reference: Guide 128

Incident Description:

A lightning strike at a refinery storage tank ignited vapors, leading to a localized fire that was extinguished quickly.

Response Actions:

Fire suppression system activated automatically.

Tank integrity assessment performed.

Lightning protection systems improved at the facility.

Casualties & Injuries:

No injuries reported.

Incident Report 199: Crude Oil Pipeline Leak Due to Corrosion

Date: September 25, 2021
Location: Tulsa, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Crude Oil (UN 1267)
PHMSA Guide Reference: Guide 128

Incident Description:

An aging pipeline segment with external corrosion developed a slow leak, detected during a routine patrol.

Response Actions:

Pipeline section shut down, and corroded segment replaced.

Cathodic protection system reviewed and reinforced.

Pipeline monitoring upgraded for early corrosion detection.

Casualties & Injuries:

No injuries reported.

Incident Report 200: Hydrogen Sulfide Gas Release Due to Valve Failure

Date: March 15, 2024
Location: Oklahoma City, Oklahoma
Pipeline Operator: XYZ Pipeline Company
Material Released: Hydrogen Sulfide (UN 1053)
PHMSA Guide Reference: Guide 117

Incident Description:

A pressure relief valve at a refinery processing unit failed, causing a brief release of hydrogen sulfide gas into the atmosphere.

Response Actions:

Emergency alarms activated, and personnel evacuated.

Ventilation systems engaged, and gas dispersion monitored.

Defective valve replaced, and additional failsafe mechanisms installed.

Casualties & Injuries:

One worker experienced mild exposure symptoms, treated on-site.